DRM Research Laboratories Inc.					     Pg. 1

Dental Restorative Materials

Research, Development & Manufacturing

## DIAMONDLINK 2™ FAST CURE INSTRUCTIONS

Universal Luting Cement System

Dual-Cure

##### AVOID THE FOLLOWING AGENTS OR TECHNIQUES

-     Avoid Auxiliary adhesives

- Eugenol containing Base, Liners or Temporary materials

- Pumice containing oil or fluoride

- Hemostatic agent (Hemodent) containing Ferric Sulfate and/or Aluminum Chloride

- Thin retraction cords may lead to crevicular fluid hydrostatic pressure/flow and cervical restorative site contamination throughout adhesive and composite filling material placement process.

- Over curing restorative intraorally may lead to post-operative sensitivity

- Under curing restorative, i.e., 20 sec or less per layer with conventional Halogen light curing devices

- VLC apparatus generating less than 500 mW/cm2 at 430-500 nm wavelength band

- Moisture or oil containing compressed air contamination

- The use of contaminated instruments

- Glass Ionomers liners can lead to undermining of restoration and marginal ditching

- Some Halogen, Light Emitting Diode (LED), Xenon Plasma Arc (Xenon), Argon Ion Laser (Laser) lights do not polymerize all restoratives

Alcohol cleanse all instruments, mandrels, etc., to avoid multi-component(s) cross contamination

The DiamondLite, DiamondCrown-Chairside, DiamondLink and DiamondFlow are best suited for optimal

clinical results when used in conjunction with DiamondBond or DiamondBond 001

TOOTH PREPARATION

Use a conservative tooth preparation approach

- Do not bevel the occlusal margin

- Rounded internal line angles, avoid sharp transitions – binding sites

- Convergent axial walls

- Smooth cavity floor

- Chamfer the interproximal seat margin

- Use composite resin cavity prep burs, as to avoid fragmenting the gnarled enamel rods at the cuspal incline, will lead to white line effect

- Avoid diatoric forms, undercuts, channeling and other mechanical retention methods

- Base/Line prep or Block-out undercuts with DiamondLink or DiamondFlow

Step 1 - Site preparation

- Clean with plain pumice, rinse and dry

- Isolate with rubber dam or cotton rolls

- Use a # 8 non-impregnated retraction cord

-     Wedge and secure with matrix band of choice, as needed

### Preparation for Adhesion                                                     		             Pg. 2

Step 2 - Conditioning

2a)  The traditional etchant used to condition Enamel and Dentin tooth substrate is ortho-Phosphoric acid,

Step (1a) presents the option of the Phosphoric acid etch technique, in the event the clinician sees fit.

- Apply the 37% O-Phosphoric conditioning gel via the disposable L.L. needle tip, in a sequential manner,

starting with Enamel (10 sec.) followed by Dentin (5 sec.)

- Rinse and dry

- Discard L.L. tip and secure L.L. cap onto syringe

2b)  Follow with application of the DiamondBond 001 Conditioner Liquid onto Enamel and Dentin.

- Place 1 drop of DiamondBond 001 Conditioner in a clean well tray provided

- Brush 3-4 coats onto Enamel and Dentin with a clean disposable brush tip, secured onto handle provided,

Allow 15 sec. to react with the tooth substrates

- Gently thin with a jet of air, do not completely air dry, do not allow to desiccate tooth surface

- Replace and secure screw cap onto vial, discard used brush tip

Note:  Alternate Methods 

- Traditional Acid Etch Technique - use Step 1a, only.  This will allow for micromechanical tag sites on

Enamel and Dentin and indiscriminate smear layer removal, including dilation of Dentin Tubuli.

- Advanced Technique - follow Step 1a-1b, in sequence, this will accomplish Step 1a, followed by Step 1b

Fixing of the Dentinal Glycoproteins bond-sites.

- High Tech. Modern Methodology -  use Step 1b, only.  This will Etch both Enamel and Dentin in a

significantly more selective and milder manner.  Whereby, the smear layer will be removed, the Dentin

Tubuli will be rendered exposed, only Tubuli plugs removed, in absence of deterioration of the inter-and

peri-tubular dentin.  This will allow for Dentinal Glycoprotein(s) Fixation in absence of deterioration of the

Dentinal Architectural morphology.  Therefore, reduce the potential of Postoperative sensitivity.

 Step 3 -  Priming and Bonding ( Single-Step)

Note

- The adhesive layer should be transparent, not cloudy or milky appearance.

- Keep DiamondBond 001 vials tightly sealed and refrigerated to prolong shelf life

- VLC curing devices may lead to post-op sensitivity depending on the Irradiance Intensity, Power &

Wavelength distribution range.  The most optimal cure is provided in ascending ranking order with the

‘proper’ Halogen gun (DiamondLite Turbo-Halogen) 10-20 sec., LED (DiamondLED-Mini) 8 sec., Xenon

Plasma Arc (DiamondPlasma) 5 sec. 

Optional Bonding Methods

Recommended for deep-rooted cavity preparation in proximity to pulpal chamber, or where insufficient access to light permeation is prevalent.  Otherwise recommended for all prosthodontic bonding, Polyglass, Polyceram(DiamondCrown) or All-Ceram restorations in conjunction with the DiamondLink 2 F/C dual-cure cement.

Pg. 3

Self Cure Method

-    Shake the DiamondBond 001 Base VLC and Catalyst Self-Cure Adhesive vial contents prior to use

- Mix a 1:1 drop ratio of the DiamondBond 001 adhesive Base-VLC and Catalyst Self-Cure adhesive resins in a clean well tray with a disposable brush tip secured onto handle provided for 5 sec

- Brush a thin layer onto the prep surface, both Enamel and Dentin, with a clean disposable brush tip secured onto handle provided

- Gently thin with a jet of air for 2 sec., evacuate/flash all evaporable components

- Replace the screw cap onto vial and secure, discard used brush tip

4. DiamondLink 2 F/C Syringe – Vita B1-Trans., A2-Univ, B3-Yellow(3x2)-Dual Cure

Universal luting cement, liner, pit & fissure sealant – polycrystalline system

Applications: Polyglass, Ceramic, Fiber & Alloy - Inlays, Onlays, Laminate-Veneers, Crown, Bridge, 
      Pins, Post/Core, Splints, Ortho-brackets

Dual-Cure: VLC / Auto.

5. Proceed with mixing 1:1 ratio the DiamondLink 2 F/C cement shade of choice, Catalyst : Base portions for

10 seconds on a dry glass slab with a #324 cement spatula.

6. Place an aliquot of the cement mixture inside the crown, sit crown, apply digital pressure, allow excess to

exude, sweep light probe @ margin for 1-2 seconds, remove excess with blunt instrument at this time.

Allow 1.0 minutes to set-harden, or to facilitate cure; expose each tooth coronal aspect to visible light cure

illumination exposure. Visible light cure : 10 sec. DiamondPlasma, 16 sec. DiamondLED-Mini, 20 sec.

DiamondLite-Turbo Halogen tip and 40 sec. Reg, Tip per layer for each tooth aspect.

7. Polish margin & interproximal with discs & paste provided & ultrafine polishing / sanding strips,

accordingly.

8. Articulate, adjust bite registration, respectively.

#### DiamondLink-2-Fast-Cure™ Luting Cement System – Reaction Kinetics

Time:  Minutes ( ‘ ), Seconds ( ‘’ ).

| Mix time = Tm | RT | Tm | Tg | Ts |
| --- | --- | --- | --- | --- |
| Gel time = Tg | 23 0 C | 0’20’' | 1’30’’ | 2’30’’ |
| Set time = Ts |  |  |  |  |
| Room Temp.(RT)= 23 0 C | OT | Tm | Tg | Ts |
| Oral Temp.(OT) = 37 0 C | 37 0 C | 0’20’ | 1’00’’ | 1’30’’ |

Keep the DiamondBond-001™ / DiamondLink-2-Fast-Cure™ components Refrigerated to prolong Shelf-Life.

DRM Research Laboratories, Inc. 29 Business Park Drive, Branford, CT  06405

Tel. (203) 488 - 5555  Toll Free (888) DRM-BOND [376-2663]  Fax. (203) 488-2821

 Email drmbond@drmco.com

415-14-2 B                                                                                                                                         ver. 052510