# DRM - DENTAL RESTORATIVE MATERIALS - RESEARCH LITERATURE

ABSTRACTS OF CLINICAL STUDIES

DRM

# 44 Roy, M., Wishe, H., Tonna, E.

Mucous Membrane Epithilial Irritation Implant Studies and Histopathology, DiamondCrown Report.

New York University Dental Center, Department of Anatomy and Cell Biology.  November 1994

This research study report illustrates the mucous membrane epithelial irritation behavior of DiamondCrown, DiamondLite, DiamondLink and DiamondBond (DRM) dental restorative materials subsequent to implantation in (3) test groups of syrian golden hamsters cheek pouches.  The test groups encompassed (50) animals each, x (3), negative control(gutta-percha implant), positive control(polyvinylchloride-PVC) and test material groups(DRM).  The implants were maintained for 14 days and thereafter extracted with the contact area mucous membrane epithelia biopsy.  The retrieved implant sections were exposed to gross visual magnified analysis/imaging and microtomed ultra-thin cross-sections of the mucosal test material interfaces. The sections were fixed with eosin and fuschin dye for histopathological analysis.  The results reveal an index score of reactivity, 0-5, (0) for the DRM test materials, (1) negative control and (5) positive control.  Further, the histophatology microtomed thin cross-sectional microscopic analysis revealed presence of heamatoma, vascular dilation, cell infiltrates, mutagenic effects, micro and macro – abscess formation, and overall severe inflammation of the mucosal epithelial tissue in the case of the positive control, PVC.  Whereas, total absence of such reaction was evidenced with the negative control group, gutta-percha and likewise with the DRM restorative materials.  Therefore, the Biocompatibility index of reactivity of mucous membrane epithelial irritation for the DRM materials was rated at (0) in accordance with ISO-10993, ADA # 41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity and Risk Analysis, respectively.

# 46 Brown, J.

Clinical Evaluation, Dental Restorative Material - DiamondLite.

Clinical Report, August 29, 1996

Clinical Professor, Mount Sinai Hospital, Department of Prosthodontics and New York University Dental Center, Department of Dental Materials Science

This clinical evaluation of DiamondLite (DRM) dental restorative VLC filling material on 60 human subjects revealed a pre and post-operative (1 year) results of high ranking order of rating index, based on a 0-5 (poor-excellent) rating gradient.  The pre-operative properties data revealed the following rating indices:  handling characteristics (4-5), color match (5), cure hardening (5), trimming (5), finishing (5), polishing (4).  Whereas the post-operative properties exhibited the following clinical rating indices:  surface texture (5), anatomical contour maintenance (5), marginal integrity (5), wear resistance (5), color stability (5), post-operative sensitivity (none), secondary caries formation (none), fracture resistance (5), esthetics (5).  Overall, the DiamondLite (DRM) dental restorative filling material exhibited excellent pre and post-operative results at (1) year mark  in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 47 Koritzer, R.T.

Clinical Evaluation, Dental Restorative Material - DiamondCrown.

Clinical Report, August 30, 1996

Professor of Dental Anatomy, University of Maryland School of Dentistry and Researcher, Smithsonian Maxillofacial Anatomy Research Institute

This clinical evaluation of DiamondCrown (DRM) dental crown VLC material on 60 human subjects revealed a pre and post-operative (1-year) results of high-ranking order of rating index, based on a 0-5 (poor-excellent) rating gradient.  The pre-operative properties data revealed the following rating indices:  handling characteristics (4), color match (4-5), cure hardening (5), trimming (5), finishing (5), polishing (5).  Whereas the post-operative properties exhibited the following clinical rating indices:  surface texture (4), anatomical contour maintenance (5), marginal integrity (5), wear resistance (5), color stability (5), post-operative sensitivity (none), secondary caries formation (none), fracture resistance (4), esthetics (4).  Overall, the DiamondCrown (DRM) dental crown material exhibited excellent pre and post-operative results at (1) year mark  in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

DRM

# 48 Koritzer, R.T.

Clinical Evaluation, Dental Restorative Material - DiamondLite.

Clinical Report, August 30, 1996

Professor of Dental Anatomy, University of Maryland School of Dentistry and Researcher, Smithsonian Maxillofacial Anatomy Research Institute

This clinical evaluation of DiamondLite (DRM) dental restorative VLC filling material on 60 human subjects revealed a pre and post-operative (1 year) results of high ranking order of rating index, based on a 0-5 (poor-excellent) rating gradient.  The pre-operative properties data revealed the following rating indices:  handling characteristics (4), color match (5), cure hardening (5), trimming (5), finishing (5), polishing (5).  Whereas the post-operative properties exhibited the following clinical rating indices:  surface texture (4), anatomical contour maintenance (5), marginal integrity (5), wear resistance (5), color stability (5), post-operative sensitivity (none), secondary caries formation (none), fracture resistance (4), esthetics (4).  Overall, the DiamondLite (DRM) dental restorative filling material exhibited excellent pre and post-operative results at (1) year mark  in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 49 Pallos, A.

Clinical Evaluation, Dental Restorative Material – DiamondCrown, May 1996

Laguna Niguel, California

In this editorial, Dr, Andrew Pallos of Laguna Niguel, California, USA highlights the biocompatible, functional and esthetic features of DiamondCrown (DRM), as the select filling and crown material in his practical dentistry experience in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 50 Schlesinger, R.

Biocompatibility, USP(US Pharmacoepia) Class VI, Systemic Injection Extracts, Intracutaneous Reactivity Extracts, Implant-Intramuscular Reactivity, Hemolysis, In-Vitro; Human Blood Donor Subjects, Cytotoxicity - Agar Diffusion, L929 Fibroblast Cell Cultures and MEM Elution, L929 Fibroblast Cell Culture Extracts;  DiamondLite, DiamondBond and DiamondCrown Study Report, May 1996

BioTechnics Laboratories, Los Angeles, California

This research study report of DiamondLite, DiamondBond, and DiamondCrown (DRM) included a series of biocompatibility tests; USP (US Pharmacoepia) Class VI, systemic injection extracts, intracutaneous reactivity extracts, implant-intramuscular reactivity, hemolysis, in-vitro; human blood donor subjects, cytotoxicity - agar diffusion, L929 fibroblast cell cultures and MEM elution, L929 fibroblast cell culture extracts.  The data exhibits (0) indices of systemic, intracutaneous, intramuscular implant and hemolytic reactivity. Further, the DRM test materials also showed a non-cytotoxic behavior, (0) index of reactivity ) in accordance with ISO-10993, ADA # 41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity and Risk Analysis, respectively.

# 51Coors Study , October 1996

Immunoglobulin count and reactivity thereof, after replacement of Amalgams with DiamondCrown (DRM) in a Clinical setting on (31) patients.

University of Colorado School of Dentistry, Alfred Coors Research Grant Study Report

This clinical study encompassed (31) human subjects with (3-4) dental tooth fillings each.  The protocol included the placement of silver amalgam fillings, retrieval and replacement thereafter with the DiamondCrown (DRM) dental restorative material.  This was intermittently interfaced with pre and postoperative immunoglobulin level(s) biochemical testing over the course of (2) years.  The biochemical clinical data revealed favorable immunoglobulin level(s) pre and postoperative placement of DiamondCrown (DRM) compared with silver amalgam fillings ) in accordance with ISO-10993, ADA # 41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity and Risk Analysis, respectively.

DRM

# 54 Tailandier, P.D.

Enfin une alternative cytocompatible et biocompatible a l’amalgame.  Ou 1 an après.

J. Odenth, Odontologie Energetique Therapeutique, Autredent, France/BeNeLux, No. 24, 15-16, December, 1998

This publication depicts the 1-year post-operative observations and commentaries regarding the DiamondCrown (DRM) dental restorative filling and crown/bridge prosthodontic material.  The author reviews the comparative analysis of the Cyto-Biocompatible DiamondCrown physico-mechanical, hydrolytic-osmosis, tribological, esthetic, biological and thermo-dimensional properties compared to traditional dental porcelain, reinforced ceramics, gold-alloy, composite resins and natural tooth structure, enamel and dentin.  The in-vitro and in-vivo findings highlight and emphasize the clinical merit of the DiamondCrown safety and efficacy for both restorative and prosthetic dentistry as a clinically viable alternative to traditional restorative materials in accordance with ISO-10993, ADA # 41, ISO-4049, ADA #27 and ISO-14971 Standards for Biocompatibility, Cytotoxicity, Dental Resin Based Filling Materials and Risk Analysis, respectively.

# 55 Gurrado, C.

DiamondCrown - Per il futuro della protesi.

J. Rivista Italiana degli Odontotecnici, Anno 34, No. 2, 18-19, March 1998

This publication depicts the 4-year post-operative observations and commentaries regarding the DiamondCrown (DRM) dental restorative filling and crown/bridge prosthodontic material specifically for implant-integrated superstructures.  The semi-crystalline micro-morphology of the bio-glass reinforced polyceramic matrix affords the material a prime candidate position as a ductile, shock-absorbing, stress-dissipating functional superstructure for implants.  This clinical application enables the oral-surgeon an interdisciplinary work approach with the prosthodontist to apply an immediate-loading technique facilitating the probability of osseo-integration at the titanium implant-bone interface coupled with favorable biomechanical behavior of the abutment prosthesis.  Whereby, the biomechanical behavior of the DiamondCrown chemically fused-integrated superstructure to the titanium substructure, elaborates a stress-dissipating cyclic masticatory energy function.  This enhances the probability of rapid osseo-integration in lieu of bone/implant interfacial trauma.  Similarly, the author illustrates the clinical advantage of DiamondCrown as an  Onlay restorative material in Temporo-Madibular Joint Disorder cases of bruxism or habitual clenchers.  Whereby, the DiamondCrown (DRM) semi-crystalline shock-absorbing restorative material can facilitate the Occlusion-Rehabilitation. This is a clinically viable alternative to traditional venues, non of which are ideal TMJ repair candidates, with inherent disadvantages, such as, Porcelain; hard and brittle, traumatic to antagonistic dentition, TMJ and periodontal connective tissue – ligature, Composites; amorphous-vitreous polymers, and Gold; esthetic-cost-repair issues, in accordance with ISO-10993, ADA # 41, ISO-4049, ADA #27 and ISO-14971 Standards for Biocompatibility, Cytotoxicity, Dental Resin Based Filling Materials and Risk Analysis, respectively.

# 58 Schembri, D., Pagliari, P.

Procidimento innovativo in moffola transparente per materiali fotopolimerizzabili.

J. Rivista di technologie Dentali, Italia, Anno V, No. 3, 19-30, September 1998

The dental technology team of Schembri and Palgliari illustrates a new innovative DRM technique of DiamondCrown-Press fabrication in a transparent flask.  This Press/Flask technique allows for multiple units, and in this illustrated case, a 9-unit titanium-alloy based bridge-crowning process is facilitated by a mechanical press protocol instead of individual unit manual modeling.  This methodology protocol includes a transparent flask, Teflon separating agent, dye silicon base model positive replica material (95 Shore-A hardness), multiple stratified transparent silicon impression strata (65 Shore-A hardness) and the DiamondCrown Lab Cure Booth.  Further, Scanning Electron Microscope (SEM) micro-topographical analysis of the interfacial stratification layers, Op. Dentin-Dentin-Enamel-Incisal, demonstrates a higher density, micro-defect free transitional profile throughout the cross-sections of the strata.  This further enhances the fracture resistance of the prosthesis and overall facilitates the time logistics and ergonomics of fabricating larger DiamondCrown superstructures in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

DRM

# 60 Barzilay, I.

DiamondCrown Reverse (Lingual) Veneers.

J. Assoc. of Prosthodontists of Canada , Vol. 3, No.7, 40-43, Winter 1999

Dr. I. Barzilay is a professor at University of Toronto School of Dentistry, Department of Prosthodontics and Post-Graduate Implantology program.  This clinical case report delineates the use of DiamondCrown (DRM) as 4 single-units maxillary lingual lab-processed veneers, bonded and cemented with the aid of DiamondBond (DRM) adhesive and DiamondLink (DRM) cement.  The primary rational for the selection of this restorative materials and technology was the rehabilitation of chemically eroded Enamel on the lingual and Incisal aspects of anterior teeth necessitated a hydrolytically and chemically stable formulae.  This was coupled with the high fracture toughness, wear resistance and shock-dissipating characteristics of DiamondCrown in order to counteract the potential trauma to and from antagonistic opposing dentition.  The post-operative results validate the selection of DiamondCrown for complex prosthodontic clinical cases in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 63 Miara, P.

Le DiamondCrown (DRM) Un nouveau composite de laboratoire.

J. Information Dentaire, France, Vol. 81, No. 28, 2038-2039,  14 Jul. 1999

Dr. P. Miara, Professor at University of Paris V and former Head of Clinical Biomaterials Department, illustrates a clinical case report, featuring a DiamondCrown (DRM) prosthodontic Onlay bonded and cemented with the aid of DiamondBond (DRM) adhesive and DiamondLink (DRM) cement.  The physico-mechanical, esthetic, functional and biocompatible parameters and favorable clinical indications and ramifications thereof, are highlighted in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 65 Robert, D.

DiamondCrown Clinical Evaluation Report, in-vivo tooth brushing behavior, Fall 1999

University of Laval, Quebec, Canada.

Dr. D. Robert, Chairman of Prosthodontic Department at University of Laval, Quebec, Canada conducted a short-term, 6 month clinical, in-vivo, evaluation of DiamondCrown (DRM) prosthetics, tooth brushing behavior.  The findings depict that while most amorphous-glassy polymer composite resin materials exhibit a progressively dull-matting effect of repetitive daily tooth brushing, the DiamondCrown restorations show a definitive trend toward progressively improving in gloss value and specular reflectance.  This is due to the semi-crystalline nano-reinforced resin matrix micro-elastic dense lamellar inter-dendritic microstructure in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 71 Sandhaus, S.

DiamondCrown - DRM, Report

Forum Odontologicum, Lusanne, Suisse, May 2000

Institute of Biomedical Materials Clinical Research, Prosthodontics and Implantology, Lusanne, Switzerland.

Dr. S. Sanhaus, Professor of Dental Surgery and Implantology at the Institute of Biomedical Clinical Research, Lusanne, Switzerland, and Director of Forum Odontologicum, attests and certifies that his clinical experience is evidence to the high performance, quality, function, esthetics, ease of application and biocompatibility of the DRM-Diamond dental materials for Restorative and Prosthetic Dentistry application in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

DRM

# 73 Ronchi, F., Conserva, E.

Evoluzione technologica dei Compositi, caratteristiche meccaniche e biologiche di una nuova matrice polimerica.

J. Aesthetica, 1 Anno, Dossier 2000, 30 p. , Milano, Italia

The team of Dr. F. Ronchi, faculty member of the University of Milan, School of Dentistry and Dr. E. Conserva, Faculty member of the University of Genova, School of Dentistry, Italy, co-author this entire journal publication/edition dedicated to Esthetic Dentistry.  Dr. F. Ronchi describes in great detail all the physico-mechanical, fracture biomechanics, tribological wear behavior, surface hardness, hydrolytic osmosis, thermo-dimensional polymerization contraction, crystalline birefringence, biocompatibility and cytotoxicity properties of the Diamond (DRM) compositional formulae.  Whereas, Dr. E. Conserva in this publication elaborates a clinical dossier of protocol, methodology and an associated spectrum of long-term clinical results for a variety of DiamondCrown-Lite-Bond-Link applications for Restorative Dentistry, including conservative direct fillings and Prosthodontics; metal-free crowns, metal-free bridgework, titanium-alloy based bridge-superstructure(s), Endo-treated fiber-post reinforced metal-free core and crown coverage, inlays and crown onlays.  The quantitative and qualitative data and myriad of imaging records elaborate the Functional, Aesthetic and Biocompatible clinical operative/prosthetic reality of the Diamond (DRM) restorative materials in accordance with ISO-10993, ADA # 41, ISO-4049, ADA  #27, ASTM-ANSI-F394-78 and ISO-14971 Standards for Biocompatibility, Cytotoxicity, Dental Resin Based Filling Materials and Risk Analysis, respectively.

# 74 Schierano, G., Gallo, R., Angeretti, A., Pera, P., Bassi, F.

Bacterial Plaque Adhesion on Different Prosthodontic Materials.

Department of Clinical Physiopathology, Section of Prosthetic Dentistry, University of Torino, Italia.

J. Updates in Clinical Prosthetics: The Tenth Meeting, Research Article # 22, October 2000

This study investigated the potential bacterial plaque adhesion on different prosthodontic materials, including; Chrome-Cobalt alloy (Cr-Co), grade IV Titanium (Ti), Ceramic (CR)(Carat-Dentsply), two-types of Titanium-Nitride, physical vapor deposition (TiN-PVD) and ionic bombardment (TiN-IB) and DiamondCrown, DRM (DC).  The test protocol evaluation included microbiological analysis, atomic force microscopy and spectrophotometry after exposure to Streptococcus mutans (SM) and Lactobacilli (LB), among the various bacteria involved in caries formation and periodontal disease.  The highest level of SM was found on Cr-Co, a common partial-denture and crown/bridge alloy, whereas none was found on Ti.  Conversely, the highest level of (LB) was found on Ti-PVD and the lowest and identical levels were found on Ti and DC.  However, due to the high statistical standard deviation intra-parametrically it appears that conclusionary remarks cannot be derived due to specimen preparation acuity.

In accordance with ISO-10993, ADA # 41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity  and Risk Analysis, respectively.

# 75 Conserva, E.

Long-term Clinical assessment of the Versatility, Biocompatibility and Biomechanical Behavior of DiamondCrown - Report, October 2000

Professor of Prosthodontic Dentistry, University of Torino and University of Genova, Italia

In this clinical report, Dr. E. Conserva, professor of Prosthodontics at University of Torino and Genova, Italy, attest and certifies to (4) years of clinical hands-on experience with DiamonCrown-Lite-Bond-Link (DRM) dental restorative materials quality, versatility, biocompatibility and favorable biomechanical characteristics in accordance with ISO-10993, ADA #41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity and Risk Analysis, respectively.

DRM

# 78 Conserva, E., Pagliari, P., Schembri, D.

DiamondCrown Polyceramic:  a new light-curing material for restorative and prosthetic dentistry, Clinical Evaluation.

J. International Prosthodontics, International College of Prosthodontics Congress, Sydney, Australia, September 2001

The purpose of this study was to evaluate the clinical performance of DiamondCrown (DRM), with and without Metal-alloy base.  The crowns were bonded to the tooth crown-abutment substrates with DiamondBond-Link (DRM), adhesive and cement systems. The California Dental Association (CDA) criteria for clinical performance assessment were used.  This is a modified US Public Health Service criteria (USPHS) originally innovated by G. Ryge, A. Lugassi and E. Moffa of University of Pacifica, California (UOP).  This clinical evaluation included (21) metal-alloy based DiamondCrowns, placed in (8) patients; (2) females and (6) males, average age 51 y.  Further, (25) metal-free DiamondCrowns were placed in (19) patients; (10) females and (9) males, average age 39 y.  All the crowns were cemented with the DiamondBond-Link (DRM) system.  The patients were evaluated at Baseline, within (1) month of Prosthodontic placement procedure, and at (6) month recall intervals, up to (4) years mark.  The CDA criteria scores indices of restorative parameters within (2) general categories, Satisfactory (S); Excellent (E) or Acceptable (A) and Not Satisfactory (NS); Correct(C) or Replace(R).   It further considers the following intra-parametric factors; Marginal Integrity (MI), Color (CL), Surface Texture (ST) and Anatomic Form (AF), respectively at Baseline and (4) years in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

The DiamondCrown Metal-alloy based prosthesis rated accordingly at Baseline vs. 4 years -

MI= 20(95%)E, 1(5%)A  vs. 18(90%)E, 2(10%)A

CL= 20(95%)E, 1(5%)A  vs. 18(90%)E, 2(10%)A

ST= 20(95%)E, 1(5%)A  vs. 18(90%)E, 2(10%)A

AF= 21(100%)E vs. 20(100%)E.

The Metal-free DiamondCrown prosthesis rated accordingly at Baseline vs. 4 years -

MI= 24(96%)E, 1(4%)A  vs. 21(91%)E, 2(9%)A

CL= 24(96%)E, 1(4%)A  vs. 21(91%)E, 2(9%)A

ST= 24(96%)E, 1(4%)A  vs. 20(87%)E, 3(13%)A

AF= 24(96%)E, 1(4%)A  vs. 22(96%)E, 1(4%)A

A statistical t-test analysis did not reveal any significant difference between the Baseline and (4) years post-operative recall assessment mark, inter and intra-parametrically using an ANOVA, analysis of variance, including metal-alloy based vs. metal-free DiamondCrowns.  Therefore, all the DiamondCrowns (DRM) performed in a satisfactory clinical manner in accordance with the USPHS modified CDA criteria for evaluation. in accordance with ISO-14971, CDA and DRM Standards for Clinical  Risk Analysis, respectively.

# 79 Cosimi, F.

Restauro diretto o indiretto di elementi frontali.

J.D.M. (Il Dentista Moderno), Italia,  Anno XIX, No. 8, 63-68, October 2001

This is a clinical case(s) report article illustrating the chairside technique of Direct and Indirect application of DiamondCrown (DRM) bonded with DiamondBond-Link (DRM).  These cases include direct  Anterior Crown (maxillary centrals) lengthening for incisal edge occlusion rehabilitation in a habitual bruxer, direct stabilization of a maxillary Lateral post-trauma via lingual splinting with the aid of interproximal lingual aspect satellite grooves, labial and incisal reduction and direct Veneer facial surface re-lamination and Indirect reconstruction with (4) Lab-processed DiamondCrowns, maxillary Centrals and Laterals.  The gingival aesthetics, Surface texture, color match, specular reflectance, gloss value, anatomical contour and chameleon-like refractive index are a testament to the Biocompatible-Functional-Aesthetic features of the semi-crystalline polyceram DiamondCrown restorative and prosthodontic material in accordance with ISO-10993, ADA #41 and ISO-14971 Standards for Biocompatibility, Cytotoxicity and Clinical Risk Analysis, respectively.

DRM

# 80 Marincola, M., Waknine, S., Carelli, S., Carelli, R., Perpetuini, P.

Prostesica:  Extraorally Cemented Abutment Crowns (ECAC) e Integrated Abutment Crowns (IAC) Due techniche protesiche innovative

J. Quintessence International (Dental Digest) Ed. Italiana, The International J. of Oral and Maxillofacial Implants, Vol. 11/12, 407-413, 2001

***** This clinical case study illustrates (2) innovative novel techniques for Implant-superstructures: 1) the ECAC technique, Extra-Oral-Cemented-Abutment-Crown and 2) the IAC technique, Integrated-Abutment-Crown.  These features are unique to the DiamondCrown (DRM) technology, whereby a Locking-taper econometric Titanium Implant such as the Bicon Implant can have the Abutment Post cemented extra-orally to the DiamondCrown jacket with the aid of the DiamondBond-Link.  Otherwise, an enhanced approach involves the Integration of the DiamondCrown to the Titanium Implant Abutment Post mediated by a Thermo-pressure chemically fused interface.  The clinical advantages include immediate loading of the Implant substrate, yielding more rapid and successful Titanium / Osseo-integration. This is in lieu of potential interfacial defects, flaws or inherent cyclic masticatory residual strain-energy interlock commonly found with Hard-brittle ceramic superstructures, due to the stress-dissipating shock-absorption of the DiamondCrown. This is due to the semi-crystalline polyceram reinforced Nano-technology compared to the traditional hard-brittle porcelain or ultra-soft acrylic superstructure alternate material choices.  Further, the gingival esthetics can be greatly improved due to the absence of a cement interface and the biocompatible properties of DiamondCrown  in accordance with ISO-10993, ADA #41 and ISO-14971, CDA and DRM Standards for Biocompatibility, Cytotoxicity and Clinical Risk Analysis, respectively.

*****  This article is followed with a separate cover enclosure, containing a series of bibliographical citations, numerous additional research publication articles, respective abstracts and clinical case studies entitled, IAC

# 82 Miara, P., Miara, A.

Bonded Laminate Veneers made from a laboratory matrix - epoxine.

J. Revue d’Otonto Stomatologie, Societe Odontologique de Paris, France. Vol. 31: 243-257, November 2002

This clinical case report is an elaborate illustration of a “one day ” chairside technique using DiamondCrown-Bond-Link (DRM).  This is depicted in great detail, step-by-step methodology, realizing the rehabilitation of maxillary anterior dentition with Direct/Indirect technique fabricated, bonded and cemented Laminate-Veneers.  The results are a testament to the clinical versatility, functional-esthetics and tissue-compatibility of the DRM-Diamond restorative materials in accordance with ISO-10993, ADA #41, DRM and ISO-14971, CDA and DRM Standards for Biocompatibility, Cytotoxicity and Clinical Risk Analysis, respectively.

DRM

# 92 Gherlone, E., Repetto, M., Pulleto, S., Sberna, M.T., Cassinelli, C.

Biocompatabilita e caratteristische di un vetropolimero.

Universita Vita Salute San-Raffaele - Milano, Italia.  Cattedra di Clinica Odontoiatrica e Nobil-BioRicerche

J. Protech, p. 19-28, January 2005

This research investigation explored the DiamondCrown (DRM) surface profilometry via Atomic Force Microscopy and Cytotoxicity of Fibroblast Cell Cultures.  The AFM test analysis involved the imaging of the surface profiles using a Nanoscope III (Digital Instruments, Inc).  Two major test groups were prepared, a) DiamondCrown, mechanically trimmed, finished and polished (DC-MP) and b) DiamondCrown SuperClear coated (DC-SCC), glazed.  The specimen prepared for AFM analysis were 10 mm dia. (x) 5 mm ht., whereas, the areas evaluated were 40 x 40, 20 x 20, 10 x 10, 5 x 5 and 2 x 2 microns, respectively.  The defining profile was measured and expressed as Rq, Z-axis deviation, Ra, Median surface roughness and SAD, surface area difference.  The biocompatibility tests involved the cytotoxicity protocol in accordance with EN ISO 10993-5:1999.  This test series used L929 fibroblast connective tissue cell cultures, further extracted with MEM elution extract medium and incubated at 37 degrees C for 72 hours in a CO2 humidity chamber.  The negative control group had pure gold, Au discs, the positive control group consisted of Cu-Ni-Al discs, whereas the experimental test groups included both the DiamondCrown:  DC-MP and DC-SCC discs. The negative control rated (0), not cytotoxic on a ranking index of (0-3), the positive control ranked as a (3), very cytotoxic, the DC-MP ranked (1), non-cytotoxic, whereas the DC-SCC ranked (0), not cytotoxic.  The MTT quantitative level subsequent to electron microscopy evaluation ranked: negative (100%), positive (27%), DC-MP (68%) and DC-SCC (98%).  The AFM data exhibits a typical dental low-fusing porcelain at Rq 7 nm, Ra 5 nm and SAD 0.56%.  The DC-MP data depicts Rq 37 nm, Ra 28 nm and SAD 2.5%.  However, the DC-SCC AFM data shows Rq 5 nm, Ra 3 nm and SAD 0.50%.

The DC-SCC AFM profilometry, with an average surface roughness, Ra = 3 nm coupled with a cytotoxicity level ranking (0) and MTT count = 98% biocompatible, rivals any industry standard, dental porcelain, titanium implant material and/or dental gold.  Although, the AFM, Ra, surface roughness seems to be ranked in synchronous with the cytotoxicity MTT reactivity count. It is not safe to assume that this is strictly a surface micro-topographical phenomena as with the DC-MP experimental test group, but rather more probable to be related to potential trimming, finishing and polishing instruments’ residual debris, slightly contaminating the DC-MP surface in accordance with ISO-10993, ADA #41, DRM and ISO-14971, CDA and DRM Standards for Biocompatibility, Cytotoxicity and Clinical Risk Analysis, respectively.

29 Business Park Drive, Branford, CT  06405 USA

Tel. (203) 488-5555 , (203) 488-8837  Toll free (888) 376-2663 [DRM-BOND]  Fax. (203) 488-2821

Email  drmbond@drmco.com