| CLINICAL RESTORATIVES |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PRODUCT/CODE |  | CLINICAL INDICATION |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondLite™ Master Kit * DL100AK ** DL100BK |  | Universal Dental Restorative PolyCeram Anterior/Posterior Class I, II, III, IV, V Fillings & Direct Laminate-Veneers Visible Light Cure + Universal Dental Adhesive System |  |  |  | 1 - DiamondLite Refill Kit Contents (+) 1 - *DiamondBond-001 Kit Contents ---------------(or) 1 - **DiamondBond Kit Contents (+) 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles (Conditioning Gel Syringe) #18 gauge 10 - DiamondLite Polishing Discs 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument: Carver-Packer (Sterilizable / Autoclavable) 1 - 7.5cc Polishing Paste Jar 1 - set of instructions |  |  | *$ 575.00 **$ 595.00 Kit |  |
| DiamondLite™ Refill Kit DL101K |  | Universal Dental Restorative PolyCeram Anterior/Posterior Class I, II, III, IV, V Fillings & Direct Laminate-Veneers Visible Light Cure |  |  |  | 6 - Syringes - 5.0 grams ea. Total 30.0 grams. Vita Equivalent Colors / Shades: A1, A2, A3, A3.5, B1, D2 1 - set of instructions |  |  | $ 395.00 Kit |  |
| DiamondLite™ IndiDose-20 Master Kit * DLID150AK ** DLID150BK |  | Universal Dental Restorative PolyCeram Anterior/Posterior Class I, II, III, IV, V Fillings Visible Light Cure + Universal Dental Adhesive System |  |  |  | 1 - DiamondLite IndiDose-20 Refill Kit Contents (+) DiamondLite Indi-Dose Drop/Lock SS Tip Dispensing Gun (+) 1 - *DiamondBond-001 Kit Contents ---------------(or) 1 - **DiamondBond Kit Contents (+) 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles (Conditioning Gel Syringe) #18 gauge 10 - DiamondLite Polishing Discs 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument: Carver-Packer (Sterilizable / Autoclavable) 1 - 7.5cc Polishing Paste Jar 1 - set of instructions |  |  | *$ 675.00 **$ 695.00 Kit |  |
| DiamondLite™ IndiDose-20 Refill Kit DLID151K |  | Universal Dental Restorative PolyCeram Anterior/Posterior Class I, II, III, IV, V Fillings Visible Light Cure |  |  |  | 6 - Canisters (can.) - x 20 IndiDose Carpules (I.D.) = 120 I.D. 0.25 g Net x 20 (I.D.) / Can. = 5.0 g Net / Canister 5.0 g Net /Canister x 6 shades = 30.0 g Net Total / Kit. 6 - Vita Equivalent Colors / Shades: A1, A2, A3, A3.5, B1, D2 1 - set of instructions |  |  | $ 455.00 Kit |  |
| DiamondLite™ IndiDose Dispenser DL179 |  | DiamondLite™ IndiDose Cartridge Dispenser Gun |  |  |  | DiamondLite IndiDose Cartridge Dispenser Gun - Easy Drop & Lock Stainless Steel Tip (Sterilizable – Autoclavable) |  |  | $ 79.95 |  |
| DiamondBond™ Kit DB200K |  | Universal Dental Adhesive System (Dual-Cure) Enamel/Dentin - PolyCeram, Composite Ceramic, Zirconia & Metal |  |  |  | 2 - (1) ea.3cc vials of Dentin Primer A & B 1 - 7cc vial of Ceramo-Coupler 2 - 3cc vials of Universal Adhesive Resin: (1) Catalyst and (1) Base, Catalyst + Base = Auto-Cure and Visible Light Cure (Dual-Cure) Base = Visible Light Cure only 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles (Conditioning Gel Syringe) #18 gauge 50 - Disposable Brush Tips 3 - Brush Holders 2 - (12) Cavity Disposable Wells , (1) set of instructions |  |  | $ 245.00 Kit |  |
| DiamondBond001™ Kit DB250K |  | Universal Dental Adhesive System (Dual-Cure) Enamel/Dentin - PolyCeram, Composite Ceramic, Zirconia & Metal |  |  |  | 1 - 7cc vial Conditioner 2 - 7cc vial Universal Adhesive Resin: (1) Catalyst and (1) Base Catalyst + Base = Auto Cure and Visible Light Cure (Dual-Cure) Base = Visible Light Cure only 50 - Disposable Brush Tips 3 - Brush Holders 2 - (12) Cavity Disposable Wells 1 - set of instructions |  |  | $ 215.00 Kit |  |
| ##### CLINICAL RESTORATIVES |  |  |  |  |  |  |  |  |  |  |
| PRODUCT/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondFlow™ Master Kit DF315K |  | Flowable PolyCrystalline Injectable (VLC) Material Class V Restorations Class I Conservative Fillings Pedodontics Fillings Cervical Erosion Repairs Tunnel Preps, Block-out Liner & Base Material + Universal Dental Adhesive System (Dual-Cure) |  |  |  | 1 - DiamondFlow Refill Kit Contents + 1 - DiamondBond001 Kit Contents + 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles (Conditioning Gel Syringe) #18 gauge 10 - DiamondLite Polishing Discs 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument: Carver-Packer (Sterilizable / Autoclavable) 1 - 7.5cc Polishing Paste Jar 1 - set of instructions |  |  | $ 575.00 Kit |  |
| DiamondFlow™ Refill Kit DF316K |  | Flowable PolyCrystalline Injectable (VLC) Material Class V Restorations Class I Conservative Fillings Pedodontics Fillings Cervical Erosion Repairs Tunnel Preps, Block-out Liner & Base Material |  |  |  | 6 Syringes - 5.0 grams ea. Total = 30.0 grams Vita Equivalent Colors / Shades: (2) Universal, (1) ea. - A1, A2, A3, A3.5 2 - Bags (10)ea. - Disposable LL. Needles 45° bent, #15 gauge 1 - set of instructions |  |  | $ 395.00 Kit |  |
| DiamondLink 2-F/C Fast Cure™ Master Kit * DKFC310AK ** DKFC310BK |  | Universal Dental PolyCeram Bonding / Luting System (Dual-Cure) Enamel/Dentin PolyCeram, Composite Ceramic, Zirconia & Metal Inlay/Onlay, LaminateVeneers Crown & Bridge Implant-Superstructure Pins, Post/Core, Splints & Ortho-Brackets Cement Pit & Fissure Sealant Flowable Cavity Liner & Temp. C/B Material |  |  |  | 1 - DiamondLink 2 Fast-Cure Refill Kit Contents (+) 1 - *DiamondBond-001 Kit Contents ---------------(or) 1 - **DiamondBond Kit Contents (+) 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles (Conditioning Gel Syringe) #18 gauge 10 - DiamondLite Polishing Discs 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument; Carver-Packer (Sterilizable / Autoclavable) 1 - 7.5 cc Polishing Paste Jar 1 - set of instructions |  |  | *$ 575.00 **$ 595.00 Kit |  |
| DiamondLink 2-F/C Fast-Cure ™ Refill Kit DKFC311K |  | Universal Dental PolyCeram Bonding/Luting System (Dual-Cure) Enamel/Dentin - PolyCeram, Composite Ceramic, Zirconia & Metal Inlay/Onlay, LaminateVeneers Crown & Bridge Implant-Superstructure Pins, Post/Core, Splints & Ortho-Brackets Cement Pit & Fissure Sealant Flowable Cavity Liner & Temp. C/B Material |  |  |  | 6 Syringes - 5.0 grams ea. Total = 30.0 grams Vita Equivalent Colors / Shades: B1-(Translucent), A2-(Natural), B3- (Yellow) (1) Catalyst and (1) Base ea. Shade Catalyst + Base = Auto-Cure and Visible Light Cure Base = Visible Light Cure only Catalyst = Try-in Catalyst / Base = Trifunctional 1 - 5.0 g Catalyst Cement (Dual-Cure) B1 1 - 5.0 g Base VLC Cement (Dual-Cure) B1 1 - 5.0 g Catalyst Cement (Dual-Cure) A2 1 - 5.0 g Base VLC Cement (Dual-Cure) A2 1 - 5.0 g Catalyst Cement (Dual-Cure) B3 1 - 5.0 g Base VLC Cement (Dual-Cure) B3 1 - set of instructions |  |  | $ 395.00 Kit |  |
| ##### CLINICAL RESTORATIVES |  |  |  |  |  |  |  |  |  |  |
| PRODUCT/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondCrown™ Chairside Master Kit * DC350AK ** DC350BK |  | Universal Dental Restorative / Reconstructive PolyCrystalline NanoCeram System (Visible Light Cure) + Universal Dental Adhesive System (Dual-Cure) ----------------------- Anterior / Posterior Dental Fillings, Class I, II, III, IV, V Stratification Technique TMJ Bite Augmentation & Occlusion Rehabilitation Chairside Direct / Indirect Technique Inlay, Onlay, Crown & Laminate-Veneers |  |  |  | 7 - 5.0 grams ea. Syringes, Total of 35.0 grams Paste DiamondCrown Vita Equivalent Colors / Shades: (1) ea. A2 & B1 - OpaqueDentin (1) ea. .A2 & B1 Dentin (1) ea. A2 & B1 Enamel (1) Incisal Clear. 1 - 3cc Extraoral Die Separator / Release Agent 1 - 7cc Intraoral Separator / Release Agent 1 - 3cc Yellow Stain Characterizing Agent 1 - 7cc vial DiamondCrown Ceramo-Coupler ** 1 - 3cc vial DiamondCrown Modeling Liquid (+) 1 - *DiamondBond-001 Kit Contents ---------------(or) 1 - **DiamondBond Kit Contents (+) 1 - 3cc Conditioning Gel Syringe; Enamel & Dentin 1 - bag (10)-Disp. LL. Needles(Conditioning Gel Syringe) #18 gauge 10 - DiamondLite Polishing Discs (Violet / Plastic) 10 - DiamondCrown Polishing Discs (Grey / Paper) 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument; Carver-Packer (Sterilizable / Autoclavable) 1 - 7.5cc Polishing Paste Jar 1 - set of instructions 1 - Instruction Manual, 72 pg. 12 chapter (pictorial) |  |  | *$ 875.00 **$ 895.00 Kit |  |
| DiamondCrown™ Ceramo-F/X Repair Master Kit DC355K |  | Universal Ceramo/Metal Repair System Ceramic, Porcelain/Metal, Zirconia, Composite & Acrylic Repairs Visible Light Cure (VLC) Dual-Cure: VLC/Auto |  |  |  | 7 - 5.0 grams ea. Syringes, Total of 35.0 grams Paste (4) DiamondCrown Vita Equivalent Colors / Shades: (1 ea.) OpaqueDentin OA2, Dentin A2, Enamel A2, Incisal Clear (1) DiamondLite A2 (1) DiamondFlow A2 (1) DiamondLink2F/C - Base(VLC) A2 (Natural) 1 - 7cc vial DiamondCrown Ceramo-Coupler 1 - 3cc vial DiamondCrown Metal-Coupler 1 - 7cc vial DiamondCrown Metal Opaque Liquid 1 - 7.5 cc jar DiamondCrown Metal Opaque Powder: O-Neutral 1 - 7cc vial DiamondCrown Modeling Liquid 1 - Bag (10 ea.)-Disp. LL. DiamondLink2F/C-Base Needles, (#18 gauge) 1 - Bag (10 ea.)-Disp. LL. DiamondFlow Needles, 45° bent, (#15 gauge) 1 - 7.5cc Polishing Paste Jar 50 - Disposable Brush Tips 3 - Brush Holders 2 - (12) Cavity Disposable Wells 10 - DiamondLite Polishing Discs (Violet / Plastic) 10 - DiamondCrown Polishing Discs (Grey / Paper) 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Placement Instrument; Carver-Packer (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Spatula 1 - 7.5cc Polishing Paste Jar 1 - set of instructions |  |  | $ 795.00 Kit |  |
| ##### LAB (C&B) PROSTHODONTICS |  |  |  |  |  |  |  |  |  |  |
| PRODUCT/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondCrown™ Lab Intro. Kit DC360K |  | Crown & Bridge Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  |  | 7 - 5.0 grams ea. Syringes, Total of 35.0 grams Paste. DiamondCrown Vita Equivalent Colors / Shades: (A1 & A3) OpaqueDentin, Dentin, Enamel and (1) Incisal Clear. 1 - 3cc Modeling Liquid vial 1 - 3cc Metal Coupler vial 1 - 7cc Ceramo-Coupler vial 1 - 7cc Metal Opaque Liquid vial 3 - 7.5cc ea. Metal Opaque Powder Jars: OA1, OA3, O-Neutral. 1 - 3cc Die Separator Release Agent vial 1 - 7.5 cc Rubber Separator jar 1 - 3cc Yellow Stain Characterizing Agent vial 1 - 3cc Brown Stain Characterizing Agent vial 2 - Glaze - Dual Cure (1) ea. (7cc Liquid - 3cc Resin) vials 3 - Brush Holders 50 - Disposable Brush Tip 2 - Disposable Wells (12 cavities ea.) 10 - Disposable Luer Lock Needles, #18 gauge 1 - 3cc. Conditioning / Compound Gel Syringe 10 - DiamondLite Polishing Discs (Violet Felt / Plastic) 10 - DiamondCrown Polishing Discs (Grey / Paper) 1 - 7.5cc. Polishing Paste Jar 1 - Stainless Steel Polishing Disc Mandrel (Sterilizable) 1 - DRM Stainless Steel Placement Instrument: Carver-Packer (Sterilizable / Autoclavable) 1 - DRM Stainless Steel Spatula 1 - set of instructions, 1 - Instruction Manual, 72 pg. 12 chapter (pictorial) |  |  | $ 1,495.00 Kit |  |
| DiamondCrown™ Lab Intro System DC393S |  | Crown & Bridge, Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  |  | 1 - DiamondCrown Lab Intro Kit Contents 1 - DiamondCrownFotokur F/X-VLC Laboratory Cure Booth 1 - DiamondCrown ThermoKur F/X - Laboratory Heat / Pressure Cure Chamber 1 - DiamondCrown ThermoKur F/X Installation Kit 1 - DiamondCrown Polishing Kit 1 - DiamondCrown SuperClear Coat Resin - VLC - 7cc 1 - DiamondCrown SuperClear Coat Activator - 120 cc 1 - DiamondCrown SuperClear Coat Activator Immersion Bath Jar - 60 cc |  |  | $ 4,775.00 |  |
| DiamondCrown™ Lab Master Kit DC370K |  | Crown & Bridge Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  |  | 30 - 5.0 g. ea. Syringe, total of 150.0 grams Paste. Vita Equiv. Shades: 8 - Core Opaque Dentins: A1, A2, A3, A3.5, B1, B2, B3, C1 8 - Dentins: A1, A2, A3, A3.5, B1, B2, B3, C1 8 - Enamels: A1, A2, A3, A3.5, B1, B2, B3, C1 6 - Incisals: Clear, Transparent, Light Grey, Light Violet, Lt. Pink, White 9 - 7.5 cc ea. Metal Opaque Powders Jars: OA1, OA2, OA3, OA3.5, OB1, OB2, OB3, OC1, O-Neutral 1 - 3cc Metal Coupler vial 1 - 7cc Ceramo-Coupler vial 1 - 7cc Metal Opaque Liquid vial 1 - 7cc Die Separator Release Agent vial 1 - 7.5 cc Rubber Separator jar 1 - 3cc Modeling Liquid vial 1 - 3cc Yellow Stain Characterizing Agent vial 1 - 3cc Brown Stain Characterizing Agent vial 2 - Glaze Dual Cure (1) ea. (7cc Liquid - 3cc Resin) vials 4 - Brush Holders 50 - Disposable Brush Tips 2 - Disposable Wells (12 Cavities ea.) 10 - Disposable Luer-Lock Needles, # 18 gauge 1 - 3cc Conditioning / Compound Gel 10 - DiamondLite Polishing Discs (Violet / Felt) 10 - DiamondCrown Polishing Discs (Grey / Paper) 1 - Stainless Steel Polishing Disc Mandrel 1 - DRM Stainless Placement Instrument Carver / Packer (Sterilizable / Autoclavable) 1 - 7.5 cc Polishing Paste Jar 1 - DRM Stainless Steel Spatula 1 - set of instructions, 1 - Instruction Manual, 72 pg. 12 chapter (pictorial) |  |  | $ 3,595.00 Kit |  |
| ##### LAB (C&B) PROSTHODONTICS |  |  |  |  |  |  |  |  |  |  |
| PRODUCT/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondCrown™ Lab Master System DC394S |  | Crown & Bridge, Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  | 1 - DiamondCrown Lab Master Kit Contents 1 - DiamondCrownFotokur F/X-VLC Laboratory Cure Booth 1 - DiamondCrown ThermoKur F/X Laboratory Heat / Pressure Cure Chamber 1 - DiamondCrown ThermoKur F/X Installation Kit 1 - DiamondCrown Polishing Kit 1 - DiamondCrown SuperClear Coat Resin - VLC - 7cc 1 - DiamondCrown SuperClear Coat Activator - 120 cc 1 - DiamondCrown SuperClear Coat Activator Immersion Bath Jar - 60 cc |  |  |  | $ 6,775.00 |  |
| DiamondCrown™ Lab Grand Master Kit DC380K |  | Crown & Bridge Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  | 67 - 5.0 grams ea. Syringe, total of 335.0 grams paste. Vita Equivalent Colors / Shades; 15 - Core Opaque Dentins: A1,A2,A3,A3.5,A4,B1,B2,B3,B4,C1,C2,C3,C4,D2,D3. 16 - Dentins: A1,A2,A3,A3.5,A4,B1,B2,B3,B4,C1,C2,C3,C4,D2,D3,D4 16 - Enamels: A1,A2,A3,A3.5,A4,B1,B2,B3,B4,C1,C2,C3,C4,D2,D3,D4 6 - Incisals: Clear, Transparent, L. Grey, L. Violet, L. Pink, White. 4 - Dentin Chroma Modifiers: A, B, C, D. 10 - Dentin Intensifiers: Ruby Red, Ultramarine-Blue,Canary-Yellow, Clay-Brown, Orange, Rust, Violet -Grey, Peach, Mustard, White. 17 - 7.5 cc ea. Metal Opaque Powders; OA1,OA2,OA3,OA3.5,OA4,OB1,OB2,OB3,OB4, OC1,OC2,OC3,OC4,OD2,OD3,OD4, O-Neutral. 2 - 7 cc Metal Opaque Liquid vial 2 - 3 cc Metal Coupler vial 1 - 7 cc Ceramo-Coupler vial 1 - 7.5 cc Die Separator Release Agent jar 1 - 7.5 cc Rubber Separator jar 2 - 3 cc Modeling Liquid vial 2 - 3 cc Stain Characterizing Agents vials: (1) Yellow, (1) Brown. 2 - Glaze Dual Cure (1) ea. (Liquid-7cc / Resin-3cc) vials 8 - Brush Holders 2 - Disposable Brush Tips (50/pk.) 4 - Disposable Wells (12 Cavities ea.) 2 - Disposable Luer Lock Needles (10/pk.), #18 gauge 2 - 3cc Conditioning / Compound Gel Syringe 2 - DiamondLite Polishing Discs-Violet Felt –(10/pk.) 2 - DiamondCrown Burnishing Discs-Grey Paper-(10/pk.) 1 - 7.5 cc DiamondLite Polishing Paste 2 - Stainless Steel Polishing Disc Mandrel 1 - DRM Stainless Placement Instrument - DC1- Carver / Packer (Sterilizable / Autoclavable). 1 - DRM Stainless Steel Spatula - CS # 324 1 - DiamondCrown Fine Cut Carbide 1 - DiamondCrown Ti-Nitrite Coated Carbide 2 - Soft White Silicone knife - edge wheel 1 - Mandrel, 34 mm - SHP. 1 - Soft Pink Silicone - mounted polishing wheel. 1 - Nylon Bristle brush 2 - Soft White Bristle brush # 11. 1 - Cotton Buff - 22 mm mandrel mounted. 1 - 3.0 g. DiamondFine polishing compound 1 - set of instructions, 1- Instruction Manual, 72 pg. 12 chapter (pictorial) |  |  |  | $ 6,995.00 Kit |  |
| DiamondCrown™ Lab Grand Master System DC395S |  | Crown & Bridge, Inlay/Onlay Laminate-Veneers & Implant Superstructure Dental Restorative-Reconstructive PolyCrystalline NanoCeram Prosthodontic System Visible Light Cure |  |  | 1 - DiamondCrown Lab Grand Master Kit Contents 1- DiamondCrownFotokurF/X-VLC Laboratory Cure Booth 1 - DiamondCrown ThermoKur F/X - Laboratory Heat / Pressure Cure Chamber 1 - DiamondCrown ThermoKur F/X Installation Kit 1 - DiamondCrown SuperClear Coat Resin - VLC - 7cc 1 - DiamondCrown SuperClear Coat Activator - 120 cc 1 - DiamondCrown SuperClear Coat Activator Immersion Bath Jar-60 cc |  |  |  | $ 9,775.00 |  |
| ##### LAB (C&B) PROSTHODONTICS |  |  |  |  |  |  |  |  |  |  |
| PRODUCT/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondCrown™ Polishing Kit DC650K |  | Laboratory Trimming, Finishing & Polishing System |  |  |  | 1 - DiamondCrown Fine Cut Carbide 1 - DiamondCrown Ti-Nitrite Coated Carbide 2 - Soft White Silicone knife - edge wheel 1 - Mandrel, 34 mm - SHP. 1 - Soft Pink Silicone - mounted polishing wheel 1 - Nylon Bristle brush 2 - Soft White Bristle brush # 11. 1 - Cotton Buff - 22 mm mandrel mounted 1 - 3.0 g. DiamondFine polishing compound 1 - set of instructions |  |  | $ 225.95 Kit |  |
| DiamondCrown™ SuperClear Coat Kit DC620K |  | Laboratory SuperClear-Coat System Visible Light Cure |  |  |  | 1 - DiamondBond Ceramo-Coupler - 7 cc 1 - DiamondCrown SuperClear Coat Resin - VLC - 7 cc 1 - DiamondCrown SuperClear Coat Activator - 120 cc 1 - DiamondCrown SuperClear Coat Activator Immersion Bath Jar - 60 cc 1 - DiamondFine Cut Carbide 1 - Ti-Nitrite Coated Carbide 3 - Brush Holders 1 - Disposable Brush Tips - 50 / bag 2 - 12 Cavity Disposable Wells 1 - set of instructions |  |  | $ 295.95 Kit |  |
| DiamondCrown™ SuperColor Kit DC630K |  | Laboratory SuperColor Characterization System |  |  |  | 7 - DiamondCrown Super-Color Jars - 7.5 cc ea. Clay-Brown, Black, Ultramarine-Blue, Orange, Rust, Ruby-Red, Coppertone. 1 - DiamondCrown SuperClear Coat Resin - VLC - 7 cc 1 - set of instructions |  |  | $ 495.95 Kit |  |
| ##### LAB (C&B) - CURE DEVICES |  |  |  |  |  |  |  |  |  |  |
| DEVICE/CODE | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |  |
| DiamondCrown™ FotoKur™F/X - LAB FX3000MV FX3-MV Laboratory Cure Booth EL830-F3Vxx |  | Optimal DiamondCrown™ Photo-Polymerization and PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials. Indirect Prosthetic System Halogen Cure Booth: Dental Clinic Direct/Indirect Technique & Laboratory Tech. Application Multiple voltage unit 100-250 V. |  |  |  | Recommended for DiamondCrown™ Chairside and DiamondCrown™ Laboratory Systems. Digital Readout Display (seconds/minutes) Cycle indicator, Automated turntable, reflector / vented chamber, air cooled 330 W Power, 500 mW/cm², 400-550 nm, ≤ 40°C/104°F internal chamber temperature throughout cure cycle. 50/60 Hz, 3.3 A, 100-120-220-240 V. (2) 120 V - 150 W Halogen Programmable digital microprocessor display: 1-4 min.exposure - Opaque Dentin, Dentin Intensifiers, and Chroma- Modifiers, 0.25-1.5mm Layer 2 min. exposure for Dentin, 0.5-3mm layer 1 min. exposure for Enamel, 0.25-3 mm layer 1 min. exposure for Incisal, 0.25-3mm layer 1 min. exposure for Modeling Liquid 2 min. exposure for Glaze R/L VLC Start / Stop cycle; audible beep, light protective viewing port / window. 1- set of instructions |  |  | $ 1,195.00 100V -250V |  |
| DiamondCrown™ FotoKur™ F/X Lab. EL830P1 | Cure Booth Replacement Bulb |  |  |  | Halogen Bulb - 120 V - 150 W |  |  | $ 69.95 |  |  |
| DiamondCrown™ FotoKur™ F/X - LAB - LED FX5000MV FX5-MV Laboratory Cure Booth EL860-Vxx | The Ultimate DiamondCrown™ Photo-Polymerization and PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials Indirect Prosthetic System LAB-LED Cure Booth: Dental Clinic Direct/Indirect Technique & Laboratory Tech. Application Multiple voltage unit 100-250 V. |  |  |  | Recommended for DiamondCrown™ Chairside and DiamondCrown™ Laboratory Systems. Digital Readout Display (seconds/minutes) Cycle indicator, Automated turntable, reflector / vented chamber, air cooled 200 W Power,>1,500 mW/cm², 440-490 nm, ≤ 50°C/120°F internal chamber temperature throughout cure cycle. 50/60 Hz, 2.5 A, 100-120-220-240 V (36) 4W LED - Mini - Light Emitting Diodes 25cm[10in](H) x 20cm[8in](W) x 27cm[11in](D), 5.7Kg(WT)[12.54 Lbs.] Programmable digital microprocessor display. Start / Stop cycle; audible beep, light protective viewing port / window. (1) Protective Goggles, (1) set of instructions. |  |  | $ 1,995.00 100 -250V |  |  |
| DiamondCrown™ ThermoKur™ F/X EL840-T2Vxx |  |  | Optimal DiamondCrown™ Metal Coupler/Metal Opaque/ Glaze Resin Application Heat/Pressure Laboratory Cure Chamber Multiple voltage unit 100-250 V. |  |  |  | Recommended for DiamondCrown™ Laboratory Systems. Digital readout display (seconds, minutes). Cycle / Phase select indicator, semi-automated microprocessor programmable, time/ temperature settings. Phase I: Metal Coupler: 5 min., 120º C dry heat, (0) zero pressure Phase II: Metal Opaque layer or Glaze Resin Coat: 10 min., 130º C heat and pressure. Phase II requires a minimum 85 psi / 550 KPa / 5.5 Bar, air pressure, mediated by an oil filter, dehumidifier, 5µm (micron) particulate filter situated in a polycarbonate pressure regulator bowl. The pressure is routed in 6.4 mm O.D. flexible snap-fit, Teflon tubing, 175 psi pressure resistant rating). Automated phase controls: start / stop, menu, enter, toggle / scroll, audible beep / alarms. (1) set of Instructions |  |  | $ 1,795.00 100V-250V |
| DiamondCrown™ ThermoKur™ F/X Installation Kit EL840IK |  |  | Facilitates Installation of DiamondCrown™ - ThermoKur F/X™ Heat/Pressure Laboratory Cure Chamber |  |  |  | 1 - Pressure Regulator / Filter 1 - Pressure Gauge 2 - Brass NPT Fittings (snap fit) 1 - Mounting Bracket 1 - 8 ft. Length Teflon Tubing / 6.4 mm O.D. flexible, snap- fit (175 psi rating, pressure / heat resistant). 1 - set of instructions |  |  | $ 195.00 |
| ##### CLINICAL RESTORATIVE - CURE DEVICES |  |  |  |  |  |  |  |  |  |  |
| DEVICE/CODE |  | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |
| DiamondLite™ Turbo Halogen * ED800V12 ** ED800V22 ** ED800V24 |  |  | Photo-Polymerization of PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials |  |  |  | 1 - power base/stand with digital keypad VLC-Halogen unit 2 - light probes: 1 regular, 11mm & 1 turbo, 8mm 1 - LCD-digital display including: 20 sec. (400-800 mW/cm² ramped action) - auto. mode regular cure 40 sec. (300-600 mW/cm² ramped action)-auto. mode regular cure 5L (5 sec.)(400 mW/cm²) auto. mode turbo cure including automated ramped action 10H (10 sec.)(600-700-800-900-1000-1100 mW/cm²) auto. mode turbo cure and bleaching including automated ramped action 1 - LCD Digital display port - built in radiometer, including (mW/cm²) irradiance intensity 1 - VLC gun with 180cm cord including actuating fingertip touch pad 1 - light probe custom fit protective shield 1 - protective eyewear 2 - extra fuses 1 - set of instructions |  |  | * $ 595.00 120V ** $ 695.00 100V - 220V-240V |
| DiamondLED™Mini Light Emitting Diode * ED802UVxx ** ED802HVxx |  |  | Photo-Polymerization of PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials |  |  |  | * Ultra High Intensity: Single click - 1000mW/cm2 Double click - 500mW/cm2 ** High Intensity: Single click - 700mW/cm2 Double click - 500mW/cm2 Wavelength Range:450-490 nm Variable irradiance intensity. intensity: Ultra High and High Intensity LED - 5000 hours min. lifetime Continuous operation with intermittent loading - 16 sec. On - 15 sec. Off 1 - LED Handpiece W/ 8mm tip 2 - Eyeshields 1 - Wrench - for changing lens 50 - Curing Sleeves 1 - Hand-piece Hanger 1 - set of Instructions |  |  | * Ultra High Intensity * $ 895.00 100V-250V ** High Intensity ** $ 795.00 100V-250V |
| DiamondLED™ Light Emitting Diode Cordless ED801Vxx |  |  | Photo-Polymerization of PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials |  |  |  | Wavelength Range:440-490 nm irradiance intensity: min. 800mW/cm2 Curing Time: 20 seconds per cycle w/ intermittent beep every 10 sec. Total exposure time with new fully charged battery: (900 Sec.) ~ 45 cure cycles. 1 - Re-Charge Base Control Power Indicator~ (green LED) Charging Indicator~ (orange LED) 1 - Cordless Handpiece Start / Stop Button Ready indicator~ (green) Charge indicator ~ (yellow) 1 - Turbo Light probe tip-13 / 8mm 1 - Nickel-Metal Hydride Battery, 9.6V, 300mAh 1 - Auxiliary power cord 1 - Light Probe Protective shield 1 - set of instructions |  |  | $ 995.00 100V-250V |
| ##### CLINICAL RESTORATIVE - CURE DEVICES |  |  |  |  |  |  |  |  |  |  |
| DEVICE/CODE |  | CLINICAL INDICATION |  |  |  |  | CONTENTS |  |  | PRICE |
| DiamondPlasma™ EL850Vxx |  |  | Photo-Polymerization of PolyGlass/PolyCeram Dental Restorative and Prosthetic Materials Tooth Whitening / Bleaching Procedures for Dental Clinic - Dentist Xenon Plasma Arc 1-3-6-10 Seconds Cure Time |  |  |  | 1 - Base stand with digital keypad display-Xenon Plasma Arc unit. 2 - magnetic R-angle light probes (3600 revolution), 8 mm 1 - light emitting (fiber-optic) 6 Ft. bundle cord with stainless steel encased optics and automated quick-release fingertip actuated trigger 1 - custom fitted protective shield 2 - protective eyewear 2 - extra fuses 20 - plastic (neoprene) red light-probe protective cones 1 - LCD digital display, including: - Auto. Mode-Touch pad programming @ 100% intensity - 3 sec.-BL (Bleaching) = 1400 mW/cm2 (coned) @ 8mm distance), 2500 mW / cm2 (unconed) - 6 sec.-SC (Step-Cure) = 600-1400 mW/cm2 (coned), 1200-2500 mW / cm2 (unconed) - 6 sec.-RA (Ramped-Cure) = 600 -1200 mW/cm2 (coned), 1200-2500 mW/cm2 (unconed) - 10 sec.-NM (Continuous - Cure) = 1400 mW/cm2 (coned), 2500 mW / cm2 (unconed) * mode (V) can further include intra-parametric options whereby each mode can be used @ 4 variableintensities; 50-60-80-100% and 4 variable exposure times; 1-3-6-10 sec. 1 - LCD-digital display / port, built-in radiometer indicating (mW/cm2) irradiance intensity 1 - set of instructions |  |  | $ 3,495.00 100V-250V |
| DiamondLite™ VLC/IR Digital Radiometer ED803 |  |  | Verification of Irradiance intensity (mW/cm2) dual-range VLC (visible light cure) & IR (Infrared) of Photo-Polymerization Chairside units |  |  |  | DiamondLite™ VLC / IR (dual-range digital Radiometer (mW/cm2) for verification of VLC (visible) irradiance intensity & IR (infrared/heat) emitting component associated with any VLC photopolymerization unit: Halogen, LED, Xenon Plasma Arc 2 - 8mm (I.D.) photosensitive ports: VLC and IR 1 - digital display (mW/cm2 ) 1 - set of instructions |  |  | $ 245.00 |
| DEVICE/CODE AUXILIARY- CLINICAL RESTORATIVE - CURE DEVICE - COMPONENTS PRICE |  |  |  |  |  |  |  |  |  |  |
| DiamondPlasma™ EL850P4 |  |  |  | Replacement Fiber Optic Light Guide for DiamondPlasma |  |  |  |  |  | $ 995.00 |
| DiamondPlasma™ EL850P2 |  |  |  | Magnetic Right-angle light probe tip (360° revolution) 7.8mm (I. D.) |  |  |  |  |  | $ 195.00 |
| DiamondPlasma™ EL850P3 |  |  |  | Magnetic Right-angle light probe tip (360° revolution) 10.8mm (I. D.) |  |  |  |  |  | $ 285.00 |
| DiamondPlasma™ EL850P5 |  |  |  | Magnetic Trigger / Activator |  |  |  |  |  | $ 55.95 |
| DiamondLED™ Mini ED802P1 |  |  |  | Ultra High / High Intensity Replacement Lens |  |  |  |  |  | $ 79.95 |
| DiamondLED™ Mini ED802P2 |  |  |  | Orange Protective Shield (6 / pk.) |  |  |  |  |  | $ 29.95 |
| DiamondLED™ Mini ED802P3 |  |  |  | Curing Sleeve (400 / pk.) |  |  |  |  |  | $ 99.95 |
| DiamondLED™ ED801P1 |  |  |  | Replacement Battery (Nickel Metal Hydride) |  |  |  |  |  | $ 175.00 |
| DiamondLED™ ED800P2 |  |  |  | Turbo Right-angle light probe tip (360° revolution) 8 mm |  |  |  |  |  | $ 175.00 |
| DiamondLite™Turbo Halogen ED800P2 |  |  |  | Turbo Right-angle light probe tip (360° revolution) 8 mm |  |  |  |  |  | $ 175.00 |
| DiamondLite™Turbo Halogen ED800P1 |  |  |  | Regular Right-angle light probe tip (360° revolution) 11 mm |  |  |  |  |  | $ 135.00 |
| DiamondLite™Turbo Halogen ED800P5 |  |  |  | Turbo Halogen Pedestal /Prong Holder |  |  |  |  |  | $ 44.95 |
| DiamondLite™TurboHalogen ED800P4 |  |  |  | Replacement - 120 V / 75 W Halogen Bulb |  |  |  |  |  | $ 62.95 |
| DiamondPlasma™ / DiamondLite™Turbo Halogen / DiamondLED™ ED800P3 |  |  |  | Universal Protective Shield - Amber |  |  |  |  |  | $ 25.95 |